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MINUTES
Call to Order: 6:10pm
Roll Call: Heidi Herzog, David Lemmon, Carol Holden, Lacata Peace (SDST), Willie Longmire, Cliff Peterson, Aimee Ozanich, Lyle Smith & Logan Cook (WMS Aquatics)
Public Comment: Quick explanation of what WMS Aquatics is and what they do.   Lacata was here to say that SDST will be hosting Championships in our pool July 23-25, 2027.  WMS discussed the chlorine room equipment and the proposal of how to provide a safer alternative.  They are proposing Acid-Rite and Accu-Tab.  No off gassing would occur and there would be a huge improvement in safety.  The tablets come from the Ellensburg supplier (WMS).  Supply chain issues have not occurred.  Ustabilized tabs.  Sodium bisulfite is acid.  Training will be provided.  Storage won’t be a problem because the current tanks will be eliminated.  Commercial pools use this.  We would need to get the tanks removed.   The installation would be in the mechanical room.  Pulsar would be the only other possible competitor, but WMS is the only provider of Accu-Tab/Accu-Rite.  Spokane County must send it out to bid every year.  We could also do a sole-source event.  Logan will send the contract to Aimee and she will disseminate it.  This would be a three-day install.  The tabs are very comparable in pricing to liquid.  The first few months show a huge consumption.  This reduces the risk.  Slidewaters in Chelan uses this system.  Large facilities use this.  There is decreased need for yearly chlorine tube replacement.  They recommend the lower total alkalinity at 60-80.  WA State Health Department approves the permitting.  The timeline for this is unknown.  As soon as the board decides, make sure we tell WMS and then they can move forward.  The tablets come in 50- and 60-pound buckets so we will need a hand truck.  With tax: $21,303.04 with six buckets of each.
Approval of Meeting Minutes from June 15, 2026 Carol made a motion to approve, Willie seconded. Passed unanimously.                                                                                        
General Business -	                                                                            
County Report - Treasurer and Investment Reports June 2026.                       
Approval of claims for payment:  Carol motioned to approve, Cliff seconded, passed unanimously.					      	    
M&O (Levy Funds) 
Banner Bank - $2625.00
Cascade Natural Gas - $3058.76
City of Selah - $1150.77
E3 Solutions, Inc. (Fire Alarm/Security) - $59.68
Helms True Value - $181.18
Oxarc, Inc. - $2593.67
Oxarc, Inc. - $2633.57
Oxarc, Inc. - $18.57
Oxarc, Inc. - $2875.51
Oxarc, Inc. - $2593.67
Oxarc, Inc. -$—    (for 7/17)
Ozanich, Aimee - $1703.83
Pacific Power - $56.22  (expect it 
Pepsi/Noel Corp - $610.38
Spectrum - $259.16
W M Smith & Associates, Inc - $435.56

Pool Construction (Bond Funds)  NAC bills were not coming through but they were found and have been paid.  
NAC Architecture - $1125.00
WM Smith & Associates, Inc - $6998.88
From 6/30/2026 – NAC Architecture - $3205.00
From 6/30/2026 - NAC Architecture - $1702.50
From 6/30/2026 - NAC Architecture - $315.00
From 6/30/2026 - NAC Architecture - $327.75

F.     Selah Aquatic Center – Operations                                                    	      	         
    BBMAC Financial Report (Revenue and Expenditures, including Payroll) 
    2026 Season - Season update
Petty cash going well and was partially used.  

G.    New Business
    Chlorine room equipment change: Presentation from WMS about system.  General consensus is that we should do it.  We should be able to self-source it because of the emergency and the safety issue.  The question is about the bidding process.                                                                                     
                                                                                 
H.      Old Business                                                                                                      
    Permanent Shade Structure Project – Updates  the increase was about $3900 and is approved.  The process is in design and engineering.  They are still thinking fall installation will work.                                             
1.   New Pool Covers are working well       								
1.   Chlorine leak in muriatic acid room: need to have the documents.  Fire department came, they called Dept. of Ecology Spills response team. We may want to have a structural engineer look at it but no one has raised a concerned who has seen it.  Environmental paperwork is being processed.  								

J.       Board Member Communications -   Cliff went to a WA Associations meeting and discussed the Open and Public Meetings, and he can go over it in more detail at the next meeting, but it was discussed.  If there is an email or text sent that is a discussion of something that needs to be decided, that is a violation of the open and public meeting.  Action must be taken (vote or decision) must be at a meeting.  No quorum is allowed to be present.  A Special Meeting can be held for a virtual meeting can be held if there is a need for a Special Meeting.
                                                                          
K.       Adjournment 7:45pm meeting date: August 17, 2026 (3rd Monday) at BBMAC

